Supplementary Material

Non-separative method based on a single quadrupole mass spectrometer for the semi-quantitative determination of amino acids in saliva samples. A preliminary study

Patricia Martín Santos, Miguel del Nogal Sánchez*, José Luis Pérez Pavón, Bernardo Moreno Cordero

Departamento de Química Analítica, Nutrición y Bromatología, Facultad de Ciencias Químicas, Universidad de Salamanca, 37008 Salamanca, SPAIN

* Corresponding author: (fax) +34-923-294483; (e-mail) mns@usal.es

Table S1. Scan and SIM groups used in the DER-LLE-PTV-GC-qMS method

| Mode | Initial time/min | Characteristics |  |
| --- | --- | --- | --- |
| scan (m/z 40-500) | 4.00 | scan s-1 | 3.15 |
|  | 6.30 |  | 5.92 |
|  | 7.88 |  | 10.59 |
| SIM | 4.00 Alanine Glycine Valine | m/z selected* (dwell time 1 ms) |  |
|  |  |  | 116, 44, 72, 117 |
|  |  |  | 102, 74, 103, 130 |
|  |  |  | 144, 55, 72, 116 |
|  | 6.10 Leucine Isoleucine Proline Asparagine |  |  |
|  |  |  | 158, 44, 101, 102 |
|  |  |  | 158, 102, 129, 130 |
|  |  |  | 142, 70, 98, 114 |
|  |  |  | 141, 42, 56, 69 |
|  | 7.50 Glutamine Serine Methionine Phenylalanine |  |  |
|  |  |  | 84, 56, 110, 156 |
|  |  |  | 114, 60, 86, 102 |
|  |  |  | 129, 61, 101, 175 |
|  |  |  | 176, 91, 102, 120 |
|  | 8.65 4-chlorophenylalanine (IS) Ornithine Lysine Histidine Tyrosine Tryptophan |  |  |
|  |  |  | 102, 74, 125, 210 |
|  |  |  | 142, 70, 98, 258 |
|  |  |  | 156, 56, 84, 128 |
|  |  |  | 81, 154, 238, 254 |
|  |  |  | 107, 102, 135, 192 |
|  |  |  | 130, 103, 131, 143 |

*m/z in bold correspond to the ones selected for quantification purposes

Table S2. m/z variables selected in the PLS1 models by the Martens uncertainty criterion for the studied amino acids

| Analyte | m/z variables selected by Martens uncertainty criterion |
| --- | --- |
| Alanine | 42, 59, 60, 61, 63, 64, 67, 87, 97, 101, 102, 105, 107, 114, 116-118, 127, 130, 131, 142, 146, 156, 158, 159, 164, 173, 176, 180, 181, 190, 194, 201, 226, 228, 238, 239, 247, 272, 319 |
| Glycine | 40, 46, 49, 50-52, 54, 56, 62, 66, 79, 84-86, 101, 104, 106-108, 110, 113, 116, 117, 120, 123, 124, 128, 130, 132, 135, 136, 138, 139, 141, 142, 144, 149, 154, 155, 157, 158, 160, 166, 168-172, 179, 181, 182, 184, 186, 187, 191, 196, 199, 200, 213, 215, 227, 232, 238, 243, 247, 248, 252, 254, 305, 318, 320, 335, 336, 362-364, 379, 412 |
| Valine | 46, 69, 81, 100, 107, 114, 116, 126, 128, 129, 141, 148, 174, 185, 188, 191, 192, 194, 264, 288, 304, 342 |
| Leucine | 46, 47, 69, 86, 100, 107, 114, 115, 118, 120, 126, 128, 129, 141, 148, 174, 179, 180, 184, 191, 192, 194, 221, 249, 251, 264, 267, 268, 288, 304, 309, 324, 342, 393 |
| Isoleucine | 46, 71, 86, 90, 92, 100, 107, 115, 118, 120, 126, 128, 132, 148, 174, 176, 179, 180, 184, 191, 192, 194, 201, 209, 221, 248, 249, 251, 264, 267, 268, 287, 309, 323, 342, 393, 428, 429, 436 |
| Proline | 45, 59, 60, 61, 63, 70, 72, 84, 86, 87, 101, 103, 105, 107, 114, 115, 129, 131-134, 142, 146, 148, 155, 157-161, 173-177, 180, 189, 198, 200, 201, 205, 207-209, 224, 226, 243, 254, 256, 284, 287, 301, 302, 304, 377, 389 |
| Asparagine | 45, 46, 55, 56, 60, 61, 63, 69, 71, 79, 84, 86, 98, 99, 101, 126, 129, 132, 141, 149, 156-160, 168, 171-176, 180, 185, 188, 192, 203, 250, 258, 259, 272, 273, 288, 304 |
| Glutamine | 40-44, 46, 47, 54-57, 60-62, 64-66, 68-70, 74, 77, 81-86, 88-95, 97, 100, 101, 104-111, 113, 115-117, 120-125, 127, 128, 130-132, 134-142, 144, 145, 147, 149-151, 154, 155, 157, 158, 160, 161, 163-166, 168-173, 176, 178-187, 190, 191, 193, 196, 198-200, 203, 210, 213, 215, 217, 221, 222, 227, 228, 232, 234, 235, 238, 241, 243, 247, 251, 252, 254, 255, 259, 264, 277, 279, 280, 295, 296, 298, 303-305, 308, 318-321, 327, 328, 336, 348, 349, 351, 352, 355-358, 360, 362, 364, 365, 369, 370, 379, 388, 394, 399-402, 405, 412, 413, 415, 416, 427, 429, 430-433, 443, 446, 453, 460-463, 475, 476, 482, 487, 489, 490 |
| Serine | 40-500 |
| Methionine | 40-500 |
| Phenylalanine | 40-500 |
| Ornithine | 41, 42, 46, 53, 56, 59, 64-66, 70, 71, 72, 76, 79, 84, 86, 98, 100, 101, 103-105, 107-109, 112, 126, 129, 132, 136, 141, 142, 144, 149-151, 156, 157, 163, 172, 173, 175, 178, 193, 195, 198, 201, 207-210, 234, 235, 249-251, 253, 255, 258, 259, 267-269, 272, 282, 283, 293, 308-311, 325, 341-343, 367, 377, 405, 482 |
| Lysine | 56, 79, 85, 98, 101, 103-105, 108, 111, 116, 129, 132, 153, 156, 157, 173, 175, 178, 207, 209, 210, 226, 253, 258, 272 |
| Histidine | 40-500 |
| Tyrosine | 43, 47, 56, 62-64, 70, 74, 83, 84, 86, 98, 100, 101, 105-108, 111, 113, 114, 116, 126, 127, 129, 134, 139, 140, 144, 145, 152, 153, 155-157, 162, 164, 167, 171, 172, 174, 175, 185, 192, 212-214, 220, 226, 258, 259, 264, 272, 273, 280, 303, 352, 405, 407, 456 |
| Tryptophan | 40, 41, 42, 44, 49-52, 54, 55, 57, 61, 62, 78-80, 83, 84, 86, 88, 97, 98, 100, 109, 115, 116, 126, 128, 130, 132, 136, 144, 151, 157, 158, 171, 172, 176, 177, 181, 188, 210, 217, 226, 238, 239, 272, 304, 336, 364, 365, 383, 409, 411, 412, 425 |

Table S3. Average relative predictive error (E %) and bias when the concentration of amino acids was predicted in the external validation set of saliva samples using the PLS1 models

|  | Prediction of the external validation set |  |
| --- | --- | --- |
| Analyte | E % | Bias/mg L-1 |
| Alanine | 43 | -0.162 |
| Glycine | 11 | 0.337 |
| Valine | 2 | -0.002 |
| Leucine | 38 | -0.119 |
| Isoleucine | 32 | -0.040 |
| Proline | 10 | -0.022 |
| Asparagine | 20 | -0.021 |
| Glutamine | 5 | 0.818 |
| Serine | 28 | 0.171 |
| Methionine | 18 | -0.030 |
| Phenylalanine | 22 | 0.039 |
| Ornithine | 48 | -0.282 |
| Lysine | 31 | -0.263 |
| Histidine | 24 | 0.278 |
| Tyrosine | 40 | -0.457 |
| Tryptophan | 43 | -0.139 |